## Title

Uncertainty-Aware Machine Learning for Microwave-Based Body Composition Assessment

## 1. Background and Motivation

Noninvasive microwave sensing has emerged as a promising technique for biomedical diagnostics due to its safety, low cost, and ability to probe tissue composition without ionizing radiation. Recent research, including Viktor Mattsson’s doctoral thesis on data-driven methods for microwave sensor devices, has demonstrated that machine learning models can estimate tissue-layer properties such as skin, fat, and muscle from microwave measurements.

However, a critical limitation remains for clinical translation. Current machine learning models typically output point estimates without providing information about prediction confidence. In real clinical settings, microwave measurements are affected by sensor placement variability, anatomical differences, measurement noise, and imperfect phantom-to-human correspondence. These uncertainties can lead to unreliable predictions if not properly quantified.

Viktor Mattsson’s thesis repeatedly highlights the role of measurement uncertainty and statistical variability, particularly in bone measurements, craniosynostosis monitoring, and early clinical campaigns, where the lack of confidence estimation limited clinical interpretability. This motivates the need for uncertainty-aware machine learning models that not only predict tissue properties but also quantify how reliable those predictions are.

## 2. Problem Statement

How can we design a machine learning framework for microwave-based body composition assessment that provides both accurate tissue-layer predictions and reliable uncertainty estimates, enabling safer and more interpretable clinical decision-making?

Specifically:

- Conventional ML models do not indicate when predictions are unreliable.

- Measurement noise and biological variability are not explicitly modeled.

- Clinicians require confidence bounds to assess diagnostic risk.

## 3. Aim of the Thesis

The main aim of this thesis is to develop and evaluate an uncertainty-aware machine learning system for estimating skin, fat, and muscle properties from noninvasive microwave sensor data.

## 4. Specific Objectives

- Develop regression models that predict tissue-layer thickness or dielectric properties from microwave sensor measurements.

- Integrate Bayesian uncertainty estimation techniques into the prediction pipeline.

- Quantify and calibrate predictive uncertainty using established metrics.

- Analyze how measurement uncertainty propagates from sensor data to final tissue estimates.

- Propose a clinically interpretable risk or confidence score to support medical decision-making.

## 5. Methodology

### 5.1 Data Sources

The thesis will use existing datasets available from the microwave sensing research group:

- Phantom measurements with known tissue-layer configurations.

- Volunteer or limited clinical datasets where tissue thickness is validated using ultrasound or reference methods.

- Optional simulated datasets for controlled noise and variability studies.

Each sample may include:

- Frequency-dependent S-parameters such as S11 or S21.

- Metadata related to measurement conditions.

### 5.2 Baseline Machine Learning Models

Initial models will be developed as deterministic baselines:

- Random Forest Regression

- XGBoost Regression

- Fully Connected Neural Networks

These models will serve as references for evaluating uncertainty-aware approaches.

### 5.3 Uncertainty-Aware Modeling Approaches

The thesis will investigate and compare multiple uncertainty estimation techniques:

#### A. Bayesian Neural Networks

- Treat network weights as probability distributions.

- Approximate posterior inference using variational methods.

- Output predictive mean and variance for tissue properties.

#### B. Monte Carlo Dropout

- Apply dropout during inference to approximate Bayesian uncertainty.

- Perform multiple stochastic forward passes to estimate prediction variance.

#### C. Deep Ensembles

- Train multiple independent models with different initializations.

- Estimate uncertainty from prediction diversity across models.

### 5.4 Uncertainty Calibration and Evaluation

To ensure meaningful uncertainty estimates, calibration will be assessed using:

- Expected Calibration Error (ECE)

- Reliability diagrams

- Prediction interval coverage probability

- Sharpness versus calibration trade-off analysis

### 5.5 Risk Score and Clinical Interpretability

Based on uncertainty estimates, a risk or confidence score will be developed that:

- Flags predictions with high uncertainty.

- Allows clinicians to distinguish reliable from unreliable estimates.

- Supports decision-making in screening or monitoring scenarios.

### 5.6 Uncertainty Propagation Analysis

The thesis will analyze how uncertainty arises and propagates through the system:

- Sensor noise and frequency-domain variability

- Feature extraction and model uncertainty

- Impact of limited training data and domain shift

## 6. Evaluation Metrics

- Mean Absolute Error (MAE)

- Root Mean Square Error (RMSE)

- Prediction interval coverage

- Calibration metrics (ECE, reliability curves)

- Sensitivity to noise and perturbations

## 7. Expected Results

The expected outcomes of the thesis include:

- A machine learning model that predicts tissue-layer properties with quantified uncertainty.

- Demonstrated improvement in model trustworthiness compared to deterministic baselines.

- Well-calibrated uncertainty estimates suitable for clinical interpretation.

- A risk-based output framework that enhances patient safety.

## 8. Significance and Impact

This thesis will:

- Address a key limitation identified in Viktor Mattsson’s thesis regarding confidence and interpretability.

- Improve the clinical readiness of microwave-based body composition assessment.

- Provide reusable uncertainty-aware ML tools applicable to other biomedical sensing tasks such as bone healing, edema monitoring, and lung diagnostics.

- Strengthen ongoing and future research projects in personalized and preventive healthcare.

## 9. Work Plan (Indicative 20-Week Schedule)

- Weeks 1–3: Literature review and dataset familiarization

- Weeks 4–6: Baseline ML model development

- Weeks 7–11: Bayesian and uncertainty-aware model implementation

- Weeks 12–14: Calibration and uncertainty evaluation

- Weeks 15–17: Risk score development and uncertainty propagation analysis

- Weeks 18–20: Thesis writing, revision, and presentation preparation